## Lighting replacement
Present System
Type of lamp installed | 2 ft x 2 ft fittings | Various buildings
Total no. of lamps in normal operation | 150 | nos.
Wattage of each lamp | 72 | W
Hours of operation of lamps | 14 | hrs/day
Proposed System
Type of lamp proposed | LED
Wattage of lamp used for replacement | 25 | W
No. of proposed lamps | 150 | nos.
Saving Calculation
Expected reduction in power | 7.05 | kW
Days of operation per year | 300 | days/year
Hours of operation in a year | 4200 | hrs / year
Total reduction units consumed | 29610 | kWh/year
Cost of electricity considered for saving | 7.9 | Rs./kWh
Total annual saving potential | 233919 | Rs./year
Investment per lamp to be replaced | 2100 | Rs./fitting
Total Investment | 315000 | Rs.
Payback Period | 1.3466 | years